## Slide 1: MediCall
Fall 2018: BME Senior Design
Deepthi Nacharaju
Lizbeth Leapo
Haeryn Kim

## Slide 2: Introduction
Context
  Nurse call system
  Physical Disabilities
Prototype
  Cycle 2 Objectives
  Challenges
  Next Steps

## Slide 3: Specifications
Time it takes patient to find and use the device
Percentage of false positives
Wires from device to power
Number of different settings/modes to adapt to varying hand dexterities
Transmission Range
Battery Life
Water Resistance
Cost of Device
Weight of Device
Notes: Removed this spec because it was no longer relevant

## Slide 4: Objectives: Functional Decomposition

## Slide 5: Objectives: Battery vs Main Power Line
Haeryn

## Slide 6: Objectives: User Alert

## Slide 7: Objectives: Nurse Alert

## Slide 8: Objectives: User Input

## Slide 9: Objectives: Bluetooth vs Wifi
Haeryn’s beautiful report

## Slide 10: Prototyping Objectives: Code Block Diagram

## Slide 11: Prototyping Objectives: Working Device

## Slide 12: Prototyping Objectives: Drawings
Notes: Liz add screenshots of solidworks files

## Slide 13: Next Steps and Conclusion
Rev 2
  Hillrom Communication
  Motor
  Lights
Rev 1
  3D Prints of housing and clamps
  Order the goose neck