## Design Context Review
Design Context Review (What do I need to know?)
Priority | Disease State Fundamentals (Physiology, Anatomy, Epidemiology) | Who will research? | Included in Design Context Review so far
7 | What percentage of Americans are hospitalized annually? | Deepthi | X
4 | What is the average length of hospital stay? | Deepthi | X
6 | What is the most common ailment that places people in in-patient care? | Deepthi | X
3 | What is the most common reason a patient would need to call a nurse? | Deepthi | X
5 | What percentage of time is a visitor allowed in the hospital room? | Haeryn
1 | What range encompasses the physical capabilities of stroke victims? | Haeryn
2 | How quickly does a nurse need to answer a call before causing harm to the patient? | Haeryn
Priority | Information about customers (users, payers, regulators)
3 | Where are competitive products being sold -- hospitals, pharmacies, clinics, or online? | Haeryn
1 | How frequently would the patient use the product in a given day? | Deepthi | X
4 | Do our customers fall into a particular age-range? | Deepthi | X
2 | How motivated would users or caretakers be in keeping the solution up and running? | Deepthi | X
Priority | Applicable regulations or standards
5 | What safety standards exists for intra-room and inter-room communication? | Liz
2 | How long should the device be able to last before needing new parts or power supplies? | Liz
1 | How much mobility should the patient need to use the device? | Liz
3 | How will the device motivate users to keep it working? | Haeryn
4 | What are other systems that exist that help communication between patients and nurses? | Deepthi | X
Priority | Technologies that might be used in your design
2 | Can we elimate wires in the design? | Liz
3 | What is the accuracy rate that we are aiming for? | Haeryn
4 | What components can we use to send a communication signal? | Liz
5 | What power source is needed to run the device? | Deepthi | X
6 | Will the communication device be able to communicate a specific want or need? | Deepthi | X
1 | What will compose the user interface or series of interactions/input signals? | Liz
Priority | Competetive products or patents
1 | Is there a more reliable visual system for patients to be monitored? | Liz
3 | Are there competitive devices for people who are unable to speak? | Liz
2 | Who do we need to consult for information about competitive products? | Liz

## Objectives
Objectives for Cycle 2
| Related Specifications |  | (< 300) | Graded Points
Brainstorming Objectives
1 | Number of different settings/ modes to adapt to varying hand dexterities; Number of connections from device to power, Time it takes to find and use | Outline a functional decomposition of device | 150
2 | Time it takes to find and use | Pugh Matrix to isolate 2 ways device could potentially alert the user that the call-bell was activated | 150
3 | Time it takes to find and use | Pugh Matrix to isolate 2 ways device could alert the nurse that the call-bell was activated | 150
4 | Time it takes to find and use, Number of different settings/ modes to adapt to varying hand dexterities | Pugh matrix to decide between voice activation, foot pedal, IR sensor, or button. | 200
5 | Battery life | Create list of pros and cons for both a battery supply and a main voltage supply and decide on suitable option | 150
6 | Transmission Range | Research Duke Hospital policy on Bluetooth/WiFi in patient rooms | 100
Prototyping Objectives
7 | Number of different settings/ modes to adapt to varying hand dexterities, Weight of device | Detailed sketch of all components of sensor and bedside stand/attachment | 200
8 | Signal transmission | Draw a code block diagram | 200
9 | Number of different settings/ modes to adapt to varying hand dexterities | After choosing mechanism in Objective 5, low fidelity prototype mechanism for voice activation, button, or IR sensor. | 350
10 | Signal transmission | Configure wireless connection (e.g. Particle board or Bluetooth serial module) with at least one remote signal receiver | 350
|  | TOTALS (= 2000) | 2000

## Market Analysis
Market Analysis (Who is my customer?)
| Potential Market Segments | Estimated Market Size (number of beds) | Reference/Reasoning/assumptions | Competitive Products/Solutions | Willingness to pay | Reference/Reasoning/assumptions | Predicted Total Addressable Market
1 | Ambulatory Surgery Centers | 89420 | There are 5,260 ambulatory surgery centers with a mean number of 17 beds per center [6] and [7] | Nurses circulating at regular intervals and call systems with buttons | $150/bed | These centers are usually already using a competitive system which on average costs $150/bed (calculated by comparing call systems at the bottom of chart) | 13413000
2 | Nursing/Retirements Homes | 1689120 | There are 15,640 homes in the United States, most of which are for profit, that house the elderly with a mean of 108 beds per center [11] | Very basic Call systems with single buttons | $25/bell [9] | Using simple call systems to combat deterioration in cognition. [9] | 42228000
3 | Neurocritical Care Units (NCUs) | 1752 | There are 73 NCU in the US [1] with an estimated number of 24 beds per unit [8] | Constant monitoring because of high risk and possible lack of consciousness; call systems with hard buttons | $150/bed | These centers are usually already using a competitive system which on average costs $150/bed | 262800
4 | At home care for patients | 4900000 | About 4.9 million patients that recieved care at some point in a given year from 12,400 agencies [2]. | Manual Bells | $7/bell [10] | Assuming one standard bell ($7) per patient receiving care [10] | 34300000
5 | Palliative Care Units | 36890 | Approximately 2/3 of all hospitals report having a palliative care unit; 5,534 Hospitals in America and that there are 10 beds per unit [3][4] | Call systems with hard buttons | $150/bed | These centers are usually already using a competitive system which on average costs $150/bed | 5533500
Sources:
1. https://www.ncbi.nlm.nih.gov/pubmed/22045246
2. https://www.cdc.gov/nchs/fastats/home-health-care.htm
3. https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4651439/
4. https://www.aha.org/statistics/fast-facts-us-hospitals
5. https://health.usnews.com/wellness/articles/2016-11-16/how-to-pay-for-nursing-home-costs
6. https://www.beckersasc.com/asc-transactions-and-valuation-issues/number-of-ambulatory-surgery-centers-approaches-number-of-hospitals-nationwide.html
7. https://www.ncbi.nlm.nih.gov/pmc/articles/PMC2980831/
8. https://neurology.duke.edu/divisions/critical-care-and-vascular-neurology/neurocritical-care-unit-duke-medical-pavilion-8e
9. https://www.amazon.com/Smart-Caregiver-Buttons-Wireless-Pager/dp/B0032FMSWS
10. https://www.amazon.com/gp/product/B0769WH8F2/ref=s9_acsd_top_hd_bw_bXCZNL_cr_x__w?pf_rd_m=ATVPDKIKX0DER&pf_rd_s=merchandised-search-3&pf_rd_r=KDV0D9XTPJAZFT5PQKXZ&pf_rd_r=KDV0D9XTPJAZFT5PQKXZ&pf_rd_t=101&pf_rd_p=b1fb9385-3828-5ee1-9d12-64f1a48c6f7d&pf_rd_p=b1fb9385-3828-5ee1-9d12-64f1a48c6f7d&pf_rd_i=490615011
11. https://www.cdc.gov/nchs/fastats/nursing-home-care.htm
HOSPITAL CALL SYSTEMS:
| Company | Price for system | Number of Units | Price/per unit | Type of system | Link
| BEC Integrated | 3128 | 24 | 130.33 | Wireless call bell system | https://becintegrated.com/wireless-nursecall-for-hospitals-with-24-pendants-and-call-bell-system?site=google_base&gclid=Cj0KCQjwxvbdBRC0ARIsAKmec9bUjU1MkIE5EyPO398-c0bEaB2qoIx1m2pXzwSeSIcuGjPCnJ4UWY4aAu9TEALw_wcB
| BEC Integrated | 2048 | 12 | 170.67 | Visual alert system, connected to wall power | https://becintegrated.com/tektone-ttnc110-24-1?site=google_base&gclid=Cj0KCQjwxvbdBRC0ARIsAKmec9ZGiN5uBysdjI1z7eSmLfSZTMtRSryXfCAS53C7PYOGR1gtgNB8pTwaAhiIEALw_wcB
| Patterson Medical |  | 1 | 124.21 | Quadraplegic Nurse Call system | https://www.devinemedical.com/4130-Quadriplegic-Nurse-Call-Switch-with-Cord-p/4130.htm?gclid=Cj0KCQjwxvbdBRC0ARIsAKmec9ZPRxrqejxwTKdul-ST_khkUZVfiD4TX0RgrdZc1TW10CfRpMxgZacaArHBEALw_wcB
| Economat Nurse Call Monitor |  | 1 | 166.99 | Notifies nurse when patient exits bed/chair | https://www.medexsupply.com/patient-care-patient-monitors-and-alarms-economat-nurse-call-monitor-x_pid-10591.html?pid=10591&gclid=Cj0KCQjwxvbdBRC0ARIsAKmec9YeXxQYx-WPm485F1tDhGwvlscwa1Zg4SWv0UT-s00XvVwPyPUG1SgaAmSCEALw_wcB
| Average |  |  | 148.05

## Cust. Needs and Prob St.
Customer Needs (What does my customer need?)
Number | Need | Priority
User Needs
| The patient can conveniently find the device but not have it be in the way when not needed | 1
| The device needs to be easily accessible without needing to walk to it | 3
| The device needs to reliably contact the nurse | 4
| The device needs to require few battery changes or cords connected to the wall | 5
| The device needs to be understood by patients with limited cognitive ability. | 2
Payer Needs
| The device has a similar cost to competitive call systems | 1
| Should be able to be produced/purchased in bulk so hospitals can provide device for each patient room | 2
| The alert mechanism should be clear, consistent, reliable | 3
| The alert mechanism should not be unreasonable or irritating | 4
Regulatory/Standards Needs
| The call system complies with regulations already met by the DMP | 2
| The device does not cause any adverse health effects, or pose a trip or fall hazard to the patients | 1
| Software on the device should meet IEC Medical Device Software Standards | 3
Problem/Need Statement:
We will design a way to: | improve patient-nurse communication
in: | patients with limited mobility
that: | increases accessibility to assitance while reducing the number of false alerts
No. | Type of need | Need
1 | patient | easily accesible for patient with limited mobility
2 | patient | can be understood by patients with limited cognitive ability
3 | patient | will not be in the way when not in use
4 | patient | is lightweight
5 | nurse | transmits the signal to multiple receivers
6 | nurse | quickly transmits the signal to nurses
7 | nurse | reduces the amount of false-positives going to the nurses's station
8 | nurse | durable and can withstand accidents
9 | nurse | reduces excessive wiring
10 | payer | has similar cost to other competitive nurse call systems
11 | payer | can be produced and purchased in bulk so hospitals can use in each patient room
12 | regulatory | complies with regulations met by the DMP
13 | regulatory | The device does not cause any adverse health effects, or pose a trip or fall hazard to the patients
14 | regulatory | software meets IEC Medical Device Software Standards

## Pugh Matrices
Pugh Matrix
| Concept Name: | Wireless Device | Sensor Based call bell- no button press | Various buttons/functions on one bell | Battery powered-device | Eye-tracking based call-bell | Call-bell on attachable bedside stand | Wall-connected Rechargeable device | Voice-activated call bell | Foot-pedal call-bell | Current Inpatient Call-bell (remote with call-bell on TV remote)
| Less wires | 1 | 0 | 0 | 1 | 0 | 0 | -1 | 1 | -1 | 0
| cheap | -1 | -1 | 1 | -1 | -1 | 1 | 1 | -1 | 0 | 0
| Reduce false alerts to nurses | 0 | -1 | 1 | 0 | -1 | 1 | 0 | 1 | 0 | 0
| Power the device consistently | 0 | 0 | 0 | -1 | 0 | 0 | 1 | 0 | 0 | 0
| Increased accessibility to patients with limited finger-dexterity | 0 | 1 | -1 | 0 | 1 | 0 | 0 | 1 | 1 | 0
| Ability to communicate various things to nurse | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0
| Totals | 0 | -1 | 1 | -1 | -1 | 2 | 1 | 2 | 0 | 0

## LBM
Labor, Burden and Materials (LBM) Cost Analysis
| Burdened Labor Rate: | 33 | per hour
| Process Step | Material | Quantity | Cost at Full Scale | # of people | Duration of Task (hrs) | Cost | Notes
| e.g. Mounting front bars to base | Front bars | 2 | 75 | 2 | 0.5 | 183
|  | Base | 1 | 100 |  |  | 100
|  | Adhesive | 1 | 5 |  |  | 5
| e.g. Task #2 | [5 empty] | 0
| 3D printing casing | Plastic | 1 | 5 | 1 | 5 | 170
0
0
0
0
0
| TOTAL | [5 empty] | 458

## IP
IP Strategy
Relevant Patents:
| Patent Number | Title | Inventors/Assignees | Notes
| US3848249A | Apparatus actuating and nurse call system | S Meiri/ Northwestern University | Uses breath-operated switch for patients with limited mobility in the hospital
| US5561412A | Patient/Nurse Call system | Joseph H. Novak/ Hill-Rom, Inc. | A patient/nurse call system for a hospital includes patient stations capable of generating hospital calls and a remote master station which prioritizes and stores the calls.
| US8296383B2 | Voice Activated "Nurse" Call Bell | George Dib & Rachel Starr/ University of Rhode Island | Voice activated call-bell helping patients with limited mobility
| US4484367A | Nurse call apparatus | Betty Jenkins/ Jenkins Betty | Nurse call bell holder
| US5838223A | Patient/nurse call system | Ulrich/ Hill-Rom, Inc. | Wireless call bell system
| IP Risk: | Medium

## FMEA
FMEA
| Potential Failure Mode | Cause(s) | Effect(s) | Probability of Occurance (Frequent-Improbable) | Severity (Catastrophic-Negligible) | Risk Index | Acceptable? | Mitigation Plan
1 | e.g. Dislodgement of electrode from chest | Poor surface preparation, excessive sweat, hair, cord pulled, patient movement | Poor to no electrical signal, patient no longer monitored | Frequent | Significant | 3 | No | Select stronger, water-resistant adhesive for electrode design
2 | Call-bell does not alert nurse's station | Inneffective wireless or hardwire communication | Nurse is not notified when patient is in need | Occasional | Significant | 6 | No | Ensure that call-bell has few connections to plug in/is always charged
3 | Call-bell sends false alert to nurse's station | Sensor/voice-activation/button is too sensitive | Nurse gets notified too frequently, potential boy cried wolf situation | Probable | Marginal | 9 | No | Develop check system within call bell (patient has to hover hand over sensor/ tap button twice, voice activation can ask "do you want to call ________?")
4 | Call-bell cannot be reached/used by patient | Out of reach, requires high degree of finger-dexterity or cognitive ability | patient cannot communicate need to nurse | Probable | Significant | 5 | No | Voice activation/sensor based call bell- attached to bed side so it is easily accessible
5
6
7
8
9
10
11
http://www.fda-consultant.com/risk1.pdf

## Risk Register
Risk Register
| Project Risk Title | Resource/Time Risk if Triggered (1-5) | Technical Challenge (1-5) | Composite Risk Index
| Button does not activate/page nurse | 4 | 5 | 20
| Bell is not plugged in | 5 | 1 | 5
| Bell is too sensitive | 3 | 5 | 15
| Patient cannot push button | 4 | 4 | 16
0
0
0
0

## Clin Reg Strategy
Regulatory and Clinical Strategy
| 6 Key Questions: | Answers:
| Is this a medical device? If so, what class? | Yes, a class I medical device (not sure about this)
| What devices could be considered similar or “predicate devices”? | Pancake call-bell, Call-bell attached to TV remote, single-button call bell.
What would be the most appropriate regulatory pathway for this device?
| What clinical trial might be needed for your product and what would it’s purpose be? (Regulatory approval, Reimbursement, Marketing, etc.) Choose one. | Regulatory approval?
| What design/model should each study be? (pilot, registry, randomized, controlled, etc.) | Pilot
Determine one primary and one secondary endpoints for the trial you are considering.